## main
Dispa-SET Configuration File (v20.02)
This is the standard configuration file for Dispa-SET. It defines the data sources for all the parameters and provides some indications regarding the structure of the data. This excel file must be provided when running the main dispa-set running script
Description | MILP simulation config file, rolling horizon 2 days
Legend
Path
True/False Statements
Number or Date
Scenario Options
Simulation directory | Relative Path | [5 empty] | This section defines the output of the pre-processing (which is the input of the DispaSet solver)
Write GDX | True/False | 1 |  |  |  |  | It is recommended to write the data in the 3 different formats (excel, gdx, pickle), but if one is not needed,
Write Pickle | True/False | 1 |  |  |  |  | it can be skipped.
GAMS path | Path
CPLEX path | Path |  | .
Horizon Settings
Start date | Date | 2019-01-01 |  |  |  |  | Date and time parameters of the simulation
Stop date | Date | 2019-12-31 |  |  |  |  | Start and stop dates need to be within the provided data
Horizon length | Number of days | 2 |  |  |  |  | Hour 0 of the day is defined as midnight in timezone UTC+1
Look ahead | Number of days | 1
Time step in the data | Number of hours | 1
Simulation time step | Number of hours | 1
Simulation Options
Simulation type | List | LP clustered |  |  |  |  | This sections defines parameters that influence the formulation of the problem
Reserve calculation | List | Generic |  |  |  |  | These parameters influence both the pre-processing (e.g. in LP clustering, all units are aggregated by type)
Allow Curtailment | True/False | 1 |  |  |  |  | and the solver (some constraints are removed when solving in LP)
Hydro Scheduling Options
Hydro scheduling | List | Regional |  |  |  |  | These parameters influence how HDAM and HPHS units are operated (e.g. if Standard: scaled reservoir levels are computed internally
Hydro scheduling horizon | List | Annual |  |  |  |  | These parameters influence the horizon of the hydro scheduling (e.g. if Annual: reservoirs are computed for the whole year, if Stop-date driven: computation of reservoirs is driven by the start and stop date
Initial/Final resevoir levels | True/False | 1
-> Initial level |  |  |  | Default value | 0.5 |  | This value imposes the inital (relative) reservoir levels if the option is set to true
<- Final level |  |  |  | Default value | 0.5 |  | This value imposes the final (relative) reservoir levels if the option is set to true
Input Data
Demand | Relative Path | Database/TotalLoadValue_def/##/2019.csv | .
Flexible Demand | Relative Path |  | . | Default value | 0
Outages | Relative Path |  | . |  |  |  | This section provides the paths to the raw data used to generate the Dispa-SET simulation template.
Power plant data | Relative Path | Database/PowerPlants/##/JRC_EU_TIMES_ProRes1_2019_NOP2H_STO.csv | . |  |  |  | The path is an absolute path or a relative path to this config file
Renewables AF | Relative Path | Database/AvailabilityFactors/##/2019.csv | .
Load Shedding | Relative Path |  | . | Default value | 0.15 |  | For datasets which have one file per country, replace the country code (2 characters) in the path by ##.
NTC | Relative Path | Database/DayAheadNTC/NTC_Matijs.csv | . |  |  |  | for example:
Historical flows | Relative Path |  | . |  |  |  | ../data/Demand/##/2014/load.csv
Scaled inflows | Relative Path | Database/ScaledInflows/##/lisflood_scaled_inflow_2015.csv | . |  |  |  | will fetch one load.csv file per country, by replacing ## with FR, DE, NL, etc.
Reservoir Levels | Relative Path |  | .
Heat Demand | Relative Path | Database/HeatDemandTotal/HeatDemand_TOTAL.csv | .
Temperatures | Relative Path | Database/Temperatures/Temps_2019.csv | .
Geo Data | Relative Path | Database/ZonalData/geo_data_v2.csv | .
H2 Demand (P2H2 - rigid) | Relative Path
H2 Demand (P2Liquid - flexible) | Relative Path
H2 Capacities (P2Liquid - flexible) | Relative Path
Reserves Up | Relative Path
Reserves Down | Relative Path
Demand flexibility |  |  |  | Default value | 0 |  | Number of equivalent storage hours for the flexibile demand
Share of quick start |  |  |  | Default value | 0.75 |  | Share of the 2U reserve that can be covered by quick start units
Prices
Price of CO2 | Relative Path |  | . | Default value | 25
Price of Unserved Heat | Relative Path |  | . | Default value | 47.3684
Load Shedding Cost | Relative Path |  | . | Default value | 1000 |  | The least amount that customers are willing to recieve to reduce the electricity demand. EUR/MWh
Price of Transmission | Relative Path |  | . | Default value | 0 |  | Price related to the usage of tranmission lines (in €/MWh)
Price of Unserved H2 | Relative Path |  | . | Default value | 75
Curtailment Cost | Relative Path |  | . | Default value | 0
Price of Nuclear | Relative Path |  |  | Default value | 3
Price of Black coal | Relative Path |  | . | Default value | 20
Price of Gas | Relative Path |  | . | Default value | 45 |  | All fuel prices are in EUR/MWh of primary energy (lower heating value)
Price of Fuel-Oil | Relative Path |  | . | Default value | 65
Price of Biomass | Relative Path |  | . | Default value | 10.08
Price of Lignite | Relative Path |  | . | Default value | 7.23
Price of Peat | Relative Path |  | . | Default value | 9.36
Value of Lost Load (VOLL) |  |  |  | Default value | 1000000 |  | Value of lost load in EUR/MWh
Price of Spillage |  |  |  | Default value | 1 |  | Cost occurring due to involuntary water spillage in hydro resrvoirs EUR/MWh
Water Value |  |  |  | Default value | 400 |  | Value of water (for unsatisfied water reservoir levels) EUR/MWh
Zone Options | True/False | Active zone | MTS | True/False | Active zone | MTS
Countries to consider | AD | 0 | 0 | Z2 | 0 | 0
NUTS1 codes (ISO 3166-1 standard) of the simulated countries. NB: all the selected countries must be present in the data files | Z1 | 0 | 0 | LT | 1 | 1
| AT | 1 | 1 | LU | 0 | 0
| BA | 0 | 0 | LV | 1 | 1
| BE | 1 | 1 | MD | 0 | 0
| BG | 1 | 1 | ME | 0 | 0
| BY | 0 | 0 | MK | 0 | 0
| CH | 1 | 1 | MT | 0 | 0
| CY | 0 | 0 | NL | 1 | 1
| CZ | 1 | 1 | NO | 1 | 1
| DE | 1 | 1 | PL | 1 | 1
| DK | 1 | 1 | PT | 1 | 1
| EE | 1 | 1 | RO | 1 | 1
| EL | 1 | 1 | RS | 0 | 0
| ES | 1 | 1 | RU | 0 | 0
| FI | 1 | 1 | SE | 1 | 1
| FR | 1 | 1 | SI | 1 | 1
| HR | 1 | 1 | SK | 1 | 1
| HU | 1 | 1 | SM | 0 | 0
NB: Ireland (IE) includes Northern Ireland. | IE | 1 | 1 | UA | 0 | 0
| IS | 0 | 0 | UK | 1 | 1 | NB: UK is not considered as zone but GB is.
| IT | 1 | 1 | XK | 0 | 0
Input modifiers
Demand | Mult. Factor | 1
Wind | Mult. Factor | 1 |  |  |  |  | The input modifies can be used to quickly modify the data from the database.
Solar | Mult. Factor | 1 |  |  |  |  | The specified factor scales up or down the capacity and the generation of the specified technology
Storage | Mult. Factor | 1
Reserve Options
Participation to reserve markets |  | True/False
| COMC | 1
| GTUR | 1
| HDAM | 1
| HROR | 0
| HPHS | 1
| ICEN | 1
| PHOT | 0
| STUR | 0
| WTOF | 0
| WTON | 0
| CAES | 1
| BATS | 1
| BEVS | 1
| THMS | 0
| P2GS | 0
End of the Config file. This must be line number 325!

## Lists
True/False | Simulation Type | Resrve calculation | Capacity Correction | Hydro scheduling | Hydro scheduling horizon
1 | Standard | Generic | Ignore | Off | Annual
0 | LP |  | Display Warning | Zonal | Stop-date driven
| LP clustered |  | Add plants | Regional
| Integer clustering |  | Scale-up capacities
No clustering

## ReserveParticipation
| BIO | GAS | GEO | HRD | HYD | LIG | NUC | OIL | PEA | SUN | WAT | WIN | WST | OTH
COMC | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GTUR | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
HDAM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
HROR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HPHS | bar: BIO to OTH
ICEN | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
PHOT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STUR | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WTOF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WTON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAES | bar: BIO to OTH
BATS | bar: BIO to OTH
BEVS | bar: BIO to OTH
THMS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P2GS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0